Transimpedance amp design

The transimpedance  amp is one of the critical building blocks of the JTS and one of the most difficult to design. It’s in charge of converting the current coming out of the photodiode into a voltage readable by the DAQ device. Many designs are possible.

Constraints

The design of the transimpedance amp is a sublte balance between gain, bandwith and linearity, wich are determined by the type of light signal recieved. The main problem comes from the range of light intensities to measure. Indeed, for a fluorescence measurement, the signal can be of the order of volts whereas in spectro measurement it can be only a few 10s of microvolts. In any case we need a  bandwidth that is able to measure 20µs pulses with a decent gain.

A good starting point on transimpendace amp designes is here : https://www.digikey.fr/fr/articles/how-to-design-stable-transimpedance-amplifiers-automotive-medical-systems?srsltid=AfmBOoqJC__gjWYyBox25877Dih38mC8FboZKj4SbRZw5D_18NBm2N_v

Options