## OpenJTS Software — Overview

### What it is

OpenJTS is a desktop application (Python 3.14) for running experiments on the OpenJTS hardware. The user defines a sequence of light pulses and sees the results plotted in real time. It drives a specific DAQ board and can interact with an ESP32 over serial. The UI is built on the DearPyGui (DPG) library.

### Architecture

Launching main.py creates a DPG context and viewport, initializes the ADC and ESP32 instances, and starts the render loop, which updates the UI each frame in response to events.

The app is event-driven, built on two pillars:

- AppState — a single shared object holding all runtime data (experiments, sequences, parameters, hardware references). It is passed into every window at construction.

- EventBus — a publish/subscribe message broker. Windows never call each other directly; they publish named events with keyword arguments, and subscribers are invoked synchronously.

### Threading

OpenJTS makes heavy use of threads and queues, driven by one DPG constraint: item creation, deletion, and configuration must happen on the main DPG thread. Threads communicate by writing to queues that other threads can safely read.

There are four thread roles:

- Main thread — owns all DPG item creation, deletion, and configuration, the per-frame callback, and event dispatch.

- Worker thread — waits on a command queue and manages the acquisition: starts/stops it, launches the ADC reader thread, and turns raw data blocks into scalar points pushed to the result queue.

- ADC reader thread — polls the ADC every 1 ms, accumulating samples into a trigger block; when the block is full (one detection pulse) it pushes to the data queue.

- Polling thread — reads the result queue and applies statistical processing (averaging, baseline, etc.), then hands results to the main thread for plotting.

In short: the reader collects raw samples, the worker turns them into scalar data points, the polling thread does statistical processing and routing, and the main thread owns all rendering.

### Window hierarchy

- Main window — top-level DPG primary window; hosts the menu bar (File, Tools) and the TabbedWindowManager.

- Home window — static tab showing device connection status and a table of all experiments with their metadata.

- Experiment tab — one experiment's content, with its own isolated tab_bus and a nested sub-tab bar.

### Acquisition pipeline

The flow from user input to plotted results:

Define → Load → Start → Acquire → Return → Display

- Define — the user types sequence strings (e.g. 4(100msD)A[100]20msA[0]300µsD); multiple sequences are allowed.

- Load — the decoder expands repeats and converts units into a token list stored in AppState, then publishes sequence_list_ready.

- Start — resets the sequence index, records the start time, and dispatches configure + start commands to the worker.

- Acquire — the worker reads blocks from the ADC, computes ΔI/I per block, and streams live points back through the result queue.

- Return — the polling thread applies baseline subtraction and averaging, then routes finished results to the main thread through a thread-safe queue.

- Display — the main thread drains that queue each frame and publishes to the UI, updating the plot and sample container.

For the internals of any stage — decoding rules, the total-time formula, baseline/averaging logic, event names and payloads — see the inline comments and autodocs